Powerstar Rendszerfejlesztési és Fõvállalkozási Kft.

H-1039 Budapest, Nagyvárad u. 11-17.

Tel: (36-1)-2400-350, (36-1)-2400-352	   Fax: (36-1) 2400-349

Home-page: www.powerstar.hu                  E-mail:  office@powerstar.hu

ISO 9001   IQNet      CERTIFIED

Powerstar Complete Solar Systems PSCN range

PSCN-48/1000W   230V, 50Hz, 1000W continuous power, built-in possibility of 48V, 100Ah battery bank

PSCN-48/1500W   230V, 50Hz, 1500W continuous power, built-in possibility of 48V, 100Ah battery bank

PSCN-48/3000W   230V, 50Hz, 3000W continuous power, built-in possibility of 48V, 100Ah battery bank

| ITEM | DESCRIPTION | PRICE (EUR) | SYSTEM DRAWING |
| --- | --- | --- | --- |
| PSCN-48/1000W 1000W continuous 3000W peak power | - Pure sine wave output - Distortion: ≦3% - Efficiency: ≧85% - Regulation: ±2% - No load current: ≦0.25A - Frequency: 50/60HZ ± 1% - Output voltage adjustable - Green power function - Temperature control Fan - AVR - Input & Output isolated - Input low & high voltage prot. - Input & Output short circuit prot. - Low battery alarm & shut-down - Overload protection - Temperature protection: 50±5 - Remote control. (3 meter) - Fast Action AC Synchronised Transfer Switch (UPS Mode) | Ask the dealer | Dimension (H x W x D): 1000 x 800 x 250 mm |
| PSCN-48/1500W 1500W continuous 4500W peak power |  | Ask the dealer |  |
| PSCN-48/3000W 3000W continuous 6000W peak power |  | Ask the dealer |  |

INPUT PARAMETERS

-  AC input :                            230V, 50Hz

-  Battery charge current:         48V, 20A

-  Photovoltaic input Voltage:  48V, nominal, max 120V

-  Input solar current max:        60A

OPTION

-  Built-in battery type: 	            48V, 100Ah maintenance free AGM battery

The system can work in UPS mode without solar modules. The standby time for an average office

is 5 –10 hours wih 48V, 100Ah batteries.

AURHORISED DISTRIBUTOR

WeilSolar Ltd. Hungary

Partner Company:

PHOENIX INTERNATIONAL.
HEAD OFFICE : 295, WEST RAMPURA ( 1ST FLOOR) , DHAKA-1219.
BREANCH OFFICE : 353/1 , D.I.T ROAD (4TH FLOOR) , EAST RAMPURA, DHAKA-1219
PHONE880-2-9333430,880-2-9336962, FAX ; 880-2-9333461,MOBILE : 88-01712709781
E-MAIL ; phoenix11869@yahoo.com