| System Type, size / W x D x H / | System Current | Pictures | Built in batteries | Rack System | Features |
| --- | --- | --- | --- | --- | --- |
| TS19-48D6,5-Nm/3u 483x255x133 mm TS19-48D10-Nm/3u 483x255x133 mm | 48V, 6,5 A 48V, 10 A |  | _ | 19 " rack system | - Voltage and current measuring - Failure signals with LED’s - 3 alarm contacts (mains, system failure and batt. low) - Deep charge protection - Battery fuse |
| TS19-48D6,5-Nm/9U 450x180x420 mm TS19-48D10-Nm/9U 450x180x420 mm | 48V, 6,5 A 48V, 10 A |  | max. 12 Ah | Wall mounted system | - Voltage and current measuring - Failure signals with LED’s - 3 alarm contacts (mains, system failure and batt. low) - Deep charge protection - Battery fuse |
| TS19-48D6,5-Nm/9u 448x400x399 mm TS19-48D10-Nm/9u 448x400x399 mm | 48V, 6,5 A 48V, 10 A |  | max 40 Ah | N+1, 19 " rack system | - Voltage and current measuring - Failure signals with LED’s - 3 alarm contacts (mains, system failure and batt. low) - Deep charge protection - Battery fuse |
| TS19-48D45-1Lm/2u 483 x 280 x 88 mm TS19-48D45-2Lm/2u 483 x 280 x 88 mm TS19-48D45-3Lm/2u 483 x 280 x 88 mm | 48V, 15 A 48V, 2 x 15 A 48V, 3 x 15 A |  | _ | N+1, 19 " rack system | - Voltage and current measuring - Failure signals with LED’s - 3 alarm contacts (mains, system failure and batt. low) - Deep charge protection - Battery fuse |
| TS19-48D60-1Lm/2u 483 x 280 x 88 mm TS19-48D60-2Lm/2u 483 x 280 x 88 mm TS19-48D60-3Lm/2u 483 x 280 x 88 mm | 48V, 20 A 48V, 2 x 20 A 48V, 3 x 20 A |  | _ | N+1, 19 " rack system | - Voltage and current measuring - Failure signals with LED’s - 3 alarm contacts (mains, system failure and batt. low) - Deep charge protection - Battery fuse |
| TS19-48D90-1Lm/2u 483 x 280 x 88 mm TS19-48D90-2Lm/2u 483 x 280 x 88 mm TS19-48D90-3Lm/2u 483 x 280 x 88 mm | 48V, 30 A 48V, 2 x 30 A 48V, 3 x 30 A |  | _ | N+1, 19 " rack system | - Voltage and current measuring - Failure signals with LED’s - 3 alarm contacts (mains, system failure and batt. low) - Deep charge protection - Battery fuse |

Prices are without batteries